## Embedded Register
Embedded Register Report as on 31/01/2019
Customer Name | Project Name | Connection Site | MW Connected | MW Increase / Decrease | MW Total | MW Effective From | Project Status | Host TO | Plant Type
Scottish Hydro Electric Power Distribution plc | Abhainn Rath & Allt na Lairige Hydro | Kinlochleven | 4 | 0 | 4 |  | Built | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Acharn Biomass Generating Station | Killin | 5.6 | 0 | 5.6 |  | Built | SHET | Biomass
Achlachan Wind Farm LLP | Achlachan | Mybster 132/33kV substation | 0 | 20 | 20 | 2018-12-14 | Under Construction/Commissioning | SHET | Wind Onshore
SP Distribution plc | Adam Wilson and Sons, Troon CHP | Kilmarnock Town | 0 | 2.3 | 2.3 | 2018-10-31 | Scoping | SPT | CHP
Scottish Hydro Electric Power Distribution plc | AECC (Rowett) | Dyce | 0 | 4 | 4 | 2017-09-01 | Under Construction/Commissioning | SHET | Biomass
Community Wind Power Ltd | Aikengall | Dunbar 132kV | 48 | 0 | 48 |  | Built | SPT | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Allt Cheanna Mhuir Hydro Generating Station | Fort William | 1.75 | 0 | 1.75 |  | Built | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Allt Hallater at Taynuilt | Taynuilt | 0 | 2 | 2 | 2020-10-31 | Awaiting Consents | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Allt Ladaidh Hydro Generating Station | Fort Augustus | 1.35 | 0 | 1.35 |  | Built | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Allt Na Moine Generating Station | Broadford | 0 | 1.99 | 1.99 | 2021-10-31 | Awaiting Consents | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Ardessie HEP | Grudie Bridge | 0 | 2 | 2 | 2016-10-31 | Scoping | SHET | Hydro
SP Distribution plc | Ardoch and Over Enoch Wind Farm | East Kilbride South | 11.5 | 0 | 11.5 |  | Built | SPT | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Ardtalnaig Hydro Generating Station | Killin | 1.5 | 0 | 1.5 |  | Built | SHET | Hydro
Infinergy Ltd | Ardtaraig Wind Farm | Dunoon | 0 | 32 | 32 | 2021-10-31 | Scoping | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Ardverikie and Corrour Estate Hydro | Boat of Garten | 8.6 | 0 | 8.6 |  | Built | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Arkhill Wind Generating Station | Coupar Angus | 6.4 | 0 | 6.4 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Attadale Hydro | Grudie Bridge | 3.5 | 0 | 3.5 |  | Built | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Auchadaduie Wind Farm | Carradale | 0 | 6.9 | 6.9 | 2018-03-31 | Under Construction/Commissioning | SHET | Wind Onshore
SP Distribution plc | Auchenskeith Wind Farm | Saltcoats A, B | 0 | 0.5 | 0.5 | 2016-06-30 | Consents Approved | SPT | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Auchinderran | Keith | 2.4 | 0 | 2.4 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Badachro Hydro | Grudie Bridge | 1.4 | 0 | 1.4 |  | Built | SHET | Hydro
Dundee Energy Recycling Ltd | Baldovie Waste to Energy Plant | Baldovie Incinerator | 8.3 | 0 | 8.3 |  | Built | SHET | Biomass
SP Distribution plc | Bankend Rig Extension Wind Farm | Kilmarnock South | 0 | 6.9 | 6.9 | 2018-06-30 | Scoping | SPT | Wind Onshore
SP Distribution plc | Bankend Rig Wind Farm | Kilmarnock Town | 14.3 | 0 | 14.3 |  | Built | SPT | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Barbers Wood PV | Burghmuir | 0 | 9.9 | 9.9 | 2021-03-31 | Scoping | SHET | PV Array
Scottish Hydro Electric Power Distribution plc | Barr River Hydro | Fort William | 0 | 1.1 | 1.1 | 2020-10-31 | Scoping | SHET | Hydro
SP Distribution plc | Barrel Law | Hawick | 0 | 24 | 24 | 2015-07-31 | Awaiting Consents | SPT | Wind Onshore
ScottishPower Renewables (UK) Limited | Beinn an Tuirc | Beinn an Tuirc | 30 | 0 | 30 |  | Built | SHET | Wind Onshore
Ben Aketil Wind Farm Ltd | Ben Aketil Wind | Ben Aketil | 28 | 0 | 28 |  | Built | SHET | Wind Onshore
Beryl Street Generation Ltd | Beryl Street | Milton of Craigie | 0 | 20.9 | 20.9 | 2022-03-31 23:00 | Scoping | SHET | CCGT
Scottish Hydro Electric Power Distribution plc | Bettyhill Wind Farm | Mybster 1 | 5 | 1 | 6 | 2020-10-31 | Consents Approved | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Binn Farm Wind | Abernethy | 0 | 9.9 | 9.9 | 2018-10-31 | Scoping | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Binn Wind Generating Station | Abernethy | 0 | 7.05 | 7.05 | 2019-08-31 | Consents Approved | SHET | Wind Onshore
Boulfruich Wind Farm Ltd | Boulfruich Wind Farm | Dunbeath | 13.5 | 0 | 13.5 |  | Built | SHET | Wind Onshore
E.ON UK plc | Bowbeat | Kaimes | 33 | 0 | 33 |  | Built | SPT | Wind Onshore
Boyndie Wind Energy Ltd | Boyndie Wind | Boyndie | 21 | 0 | 21 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Brackenhills Wind | Macduff | 0 | 2.3 | 2.3 | 2020-10-31 | Scoping | SHET | Wind Onshore
EDF Energy Renewables Limited | Braemore Wood | Lairg | 0 | 36 | 36 | 2020-10-31 | Awaiting Consents | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Brotherton Wind Farm | Fiddes | 4.6 | 0 | 4.6 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Brown Hill Wind Farm | Kintore | 0 | 1.5 | 1.5 | 2018-10-31 | Scoping | SHET | Wind Onshore
SP Distribution plc | Broxburn Electrical Energy Storage | Broxburn | 20 | 0 | 20 |  | Built | SPT | Battery Storage
SP Distribution plc | Bruach/Crioch Hydro | Strathaven | 1.5 | 0 | 1.5 |  | Built | SPT | Hydro
Scottish Hydro Electric Power Distribution plc | Bruar Hydro | Tummel Bridge | 2 | 0 | 2 |  | Built | SHET | Hydro
SP Distribution plc | Burnhead Wind Farm | Bathgate | 29.5 | 0 | 29.5 |  | Built | SPT | Wind Onshore
SP Distribution plc | Byres Brae Battery Storage | Drumcross | 0 | 29.9 | 29.9 | 2019-03-30 | Consents Approved | SPT | Battery Storage
Scottish Hydro Electric Power Distribution plc | Cairnbrogie Wind Farm | Kintore | 0 | 1.5 | 1.5 | 2019-10-31 | Scoping | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Cairnmore PH3 Wind Farm | Tarland | 2.55 | 0 | 2.55 |  | Built | SHET | Wind Onshore
SP Distribution plc | Calachem RDF CHP Plant | Grangemouth T3&T4 | 0 | 20 | 20 | 2019-08-26 | Scoping | SPT | CHP
Community Wind Power Ltd | Calderwater | East Kilbride | 39 | 0 | 39 |  | Built | SPT | Wind Onshore
SP Distribution plc | Cameron Reservoir Solar Farm | Cupar | 0 | 5 | 5 | 2017-07-31 | Scoping | SPT | PV Array
SP Distribution plc | Camieston Farm | Galashiels | 0.5 | 0 | 0.5 |  | Built | SPT | CHP
E.ON Climate & Renewables UK Developments Limited | Camster Wind Farm | Mybster 132/33kV Substation | 50 | 0 | 50 |  | Built | SHET | Wind Onshore
SP Distribution plc | Carbrain Gas Reserve Power Facility | Cumbernauld | 0 | 19.9 | 19.9 | 2019-02-28 | Consents Approved | SPT | CCGT
Scottish Hydro Electric Power Distribution plc | Carey Farm PV | Abernethy | 0 | 9.9 | 9.9 | 2021-03-31 | Scoping | SHET | PV Array
Scottish Hydro Electric Power Distribution plc | Carlincraig Wind | Macduff | 0 | 4.6 | 4.6 | 2020-10-31 | Scoping | SHET | Wind Onshore
SP Distribution plc | Carmuirs | Bonnybridge | 0 | 29.9 | 29.9 | 2019-07-01 | Consents Approved | SPT | Battery Storage
SP Distribution plc | Carnbroe EfW | Coatbridge A, B, C | 0 | 29 | 29 | 2020-03-31 | Awaiting Consents | SPT | Waste
SP Distribution plc | Carscreugh | Glenluce | 15.2 | 0 | 15.2 |  | Built | SPT | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Carsebank PV | Lunanhead | 0 | 5 | 5 | 2016-03-31 | Scoping | SHET | PV Array
SP Distribution plc | Carswell Hill Wind Turbine | Crookston A, B | 0 | 0.98 | 0.98 | 2017-09-30 | Under Construction/Commissioning | SPT | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Castle of Auchry | Strichen | 2.4 | 0 | 2.4 |  | Built | SHET | Wind Onshore
Causeymire Windfarm Ltd | Causeymire | Mybster 132/33kV Substation | 48.3 | 0 | 48.3 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Ceannacroc Hydro Generating Station | Ceannacroc | 1.75 | 0 | 1.75 |  | Built | SHET | Hydro
SP Distribution plc | Chapelton Farm | Maybole | 0 | 2.7 | 2.7 | 2023-10-31 | Scoping | SPT | Wind Onshore
E.ON Climate & Renewables UK Developments Limited | Clachaig Glen Wind Farm | Clachaig Glen Wind Farm | 0 | 47.6 | 47.6 | 2023-04-01 | Awaiting Consents | SHET | Wind Onshore
SSE Generation Ltd | Clachan | Clachan | 40 | 0 | 40 |  | Built | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Cordon Farm PV | Abernethy | 0 | 9.9 | 9.9 | 2021-03-31 | Scoping | SHET | PV Array
Scottish Hydro Electric Power Distribution plc | Cornabo Wind | Kintore | 0 | 2.4 | 2.4 | 2018-10-31 | Scoping | SHET | Wind Onshore
Corrimony Energy Limted | Corrimony | Fasnakyle | 11.5 | 0 | 11.5 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Corrour Hydro Generating Station | Rannoch | 5.5 | 0 | 5.5 |  | Built | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Coulags Hydro | Grudie Bridge | 0 | 1.5 | 1.5 | 2016-10-31 | Scoping | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Coulin Hydro | Grudie Bridge | 0 | 1.2 | 1.2 | 2016-10-31 | Awaiting Consents | SHET | Hydro
SP Distribution plc | Craigton and Spitalhill Wind Farm | Strathleven | 0 | 21 | 21 | 2022-09-30 | Awaiting Consents | SPT | Wind Onshore
ScottishPower Renewables (UK) Limited | Cruach Mhor | Cruach Mhor Farm | 29 | 0 | 29 |  | Built | SPT | Wind Onshore
Crystal Rig Windfarm Limited | Crystal Rig Wind Farm | Dunbar | 62.5 | 0 | 62.5 |  | Built | SPT | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Cullerlie Estate PV | Kintore | 0 | 8.75 | 8.75 | 2021-03-31 | Scoping | SHET | PV Array
Scottish Hydro Electric Power Distribution plc | Dalinlongart | Dunoon | 0 | 5.35 | 5.35 | 2017-09-30 | Scoping | SHET | Biomass
E.ON Climate & Renewables UK Developments Limited | Deucheran Hill | Deucheran Hill | 15 | 0 | 15 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Deuchries Wind | Keith | 6 | 0 | 6 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Dornich Hydro Generating Station | Clachan | 1.35 | 0 | 1.35 |  | Built | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Dounreay Tri Wind Farm | Dounreay 132/33kV GSP | 0 | 9.9 | 9.9 | 2020-10-31 | Scoping | SHET | Wind Offshore
Scottish Hydro Electric Power Distribution plc | Dronley Farm PV | Coupar Angus | 0 | 4.99 | 4.99 | 2018-07-04 | Scoping | SHET | PV Array
SP Distribution plc | Drumcross ESS | Drumcross | 0 | 29.9 | 29.9 | 2021-10-31 | Awaiting Consents | SPT | Battery Storage
SSE Generation Ltd | Drumderg Wind Farm | Coupar Angus | 32 | 0 | 32 |  | Built | SHET | Wind Onshore
SP Distribution plc | Drumduff Wind Farm | Bathgate | 6 | 0 | 6 |  | Built | SPT | Wind Onshore
Dummuies Wind Farm Huntly Ltd | Dummuies Wind Farm Stage 2 | Keith | 12.25 | 0 | 12.25 |  | Built | SHET | Wind Onshore
Viridor Enviroscot Limited | Dunbar ERF | Dunbar | 0 | 36 | 36 | 2018-05-01 | Consents Approved | SPT | Waste
SP Distribution plc | Duniface Farm (Leven Gas) | Leven | 0 | 19.9 | 19.9 | 2021-04-30 | Awaiting Consents | SPT | CCGT
Earlsburn Wind Energy Ltd | Earlsburn | Bonnybridge | 35 | 0 | 35 |  | Built | SPT | Wind Onshore
Scottish Hydro Electric Power Distribution plc | East Kinmonth PV | Fiddes | 0 | 8 | 8 | 2023-10-31 | Scoping | SHET | PV Array
Scottish Hydro Electric Power Distribution plc | East Redhill | Rothienorman | 0 | 6.5 | 6.5 | 2017-05-30 | Awaiting Consents | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Easter Melrose Wind Generating Station | Macduff | 2.7 | 0 | 2.7 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Easter Tolmauds | Kintore | 2.4 | 0 | 2.4 |  | Built | SHET | Wind Onshore
Edintore Wind Farm Ltd | Edintore Wind Farm | Keith 132/33kV Substation | 20.4 | 0 | 20.4 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Edradynate Hydro Generating Station | Tummel Bridge | 0 | 1.3 | 1.3 | 2017-10-31 | Awaiting Consents | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Eilanreach Estate Hydro Generating Station | Broadford | 0 | 1.2 | 1.2 | 2021-10-31 | Awaiting Consents | SHET | Hydro
SP Distribution plc | Energy Park Fife Wind Farm | Leven | 0 | 14 | 14 | 2018-06-01 | Scoping | SPT | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Errol PV Generating Station | Abernethy | 9.9 | 0 | 9.9 |  | Built | SHET | PV Array
Scottish Hydro Electric Power Distribution plc | Errol PV PH2 | Abernethy | 0 | 8 | 8 | 2021-03-31 | Scoping | SHET | PV Array
SP Distribution plc | Erskine Gas Generation | Erskine | 0 | 19.9 | 19.9 | 2019-09-30 | Consents Approved | SPT | CCGT
Scottish Hydro Electric Power Distribution plc | Eskart Hydro | Fort Augustus | 0 | 1.99 | 1.99 | 2018-10-31 | Scoping | SHET | Hydro
SP Distribution plc | Ewe Hill | Chapelcross | 12 | 0 | 12 |  | Built | SPT | Wind Onshore
SSE Generation Ltd | Fairburn Wind Farm | Orrin (Fairburn) | 40 | 0 | 40 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Fassfern Hydro Generating Station | Fort William | 2.5 | 0 | 2.5 |  | Built | SHET | Hydro
SP Distribution plc | Ferneylea Wind Farm | Dunbar | 1.6 | 0 | 1.6 |  | Built | SPT | Wind Onshore
Fetteresso Wind Limited | Fetteresso Wind Farm | Mid Hill 132/33kV | 0 | 37 | 37 | 2021-04-01 | Awaiting Consents | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Frawney Wind Farm | Lunanhead | 0 | 4.6 | 4.6 | 2015-11-30 | Scoping | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Garbhaig Hydro Generating Station | Grudie Bridge | 2 | 0 | 2 |  | Built | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Gawnsmoss Wind Generating Station | Macduff | 0 | 2.4 | 2.4 | 2020-10-31 | Awaiting Consents | SHET | Wind Onshore
SP Distribution plc | Gevens Wind Farm | Glenniston | 6.9 | 0 | 6.9 |  | Built | SPT | Wind Onshore
SP Distribution plc | Girvan Mains AD Plant | Maybole | 0 | 0.25 | 0.25 | 2016-06-10 | Scoping | SPT | Biomass
Scottish Hydro Electric Power Distribution plc | Glasa Hydro | Alness | 0 | 4.1 | 4.1 | 2020-09-01 | Awaiting Consents | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Glasnock Hydro | Broadford | 0 | 2 | 2 | 2020-10-31 | Scoping | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Glen Affric Generation Station | Fasnakyle | 4.28 | 0 | 4.28 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Glen Buck Hydro | Fort Augustus | 2.05 | 0 | 2.05 |  | Built | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Glen Dessary Achnacarry Hydro | Fort William | 0 | 4 | 4 | 2018-11-30 | Scoping | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Glen Noe Hydro Generating Station | Taynuilt | 0 | 2 | 2 | 2020-10-31 | Awaiting Consents | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Glensanda Wind Station | Fort William | 0 | 9.9 | 9.9 | 2015-11-01 | Awaiting Consents | SHET | Wind Onshore
SP Distribution plc | Glentaggart | Linnmill | 0 | 17.5 | 17.5 | 2020-07-31 | Awaiting Consents | SPT | Wind Onshore
E.ON Climate & Renewables UK Developments Limited | Golticlay Wind Farm | Mybster 132/33kV GSP | 0 | 50.07 | 50.07 | 2022-10-31 | Awaiting Consents | SHET | Wind Onshore
Gordonstown Hill Wind Farm | Gordonstown Hill Wind Farm | Kintore | 12.5 | 0 | 12.5 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Goval Wind Generating Station | Lunanhead | 0 | 4.8 | 4.8 | 2015-11-30 | Awaiting Consents | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Gowanfold Wind Generating Station | Fraserburgh | 1.6 | 0 | 1.6 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Greenhill Croft Wind Generating Station | Strichen | 0 | 2.3 | 2.3 | 2015-11-01 | Awaiting Consents | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Greenleys Wind Farm | Bridge of Dun | 0 | 1.7 | 1.7 | 2020-10-31 | Scoping | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Greenside | St Fergus Gas | 9.2 | 0 | 9.2 |  | Built | SHET | Wind Onshore
SP Distribution plc | Growforth Power Plant (Gas) | Inverkeithing | 0 | 20 | 20 | 2020-09-20 | Awaiting Consents | SPT | CHP
SSE Generation Ltd | Grudie Bridge | Grudie Bridge | 18.7 | 0 | 18.7 |  | Built | SHET | Hydro
SP Distribution plc | Harelaw Gas Generation | Devol Moor | 0 | 20.94 | 20.94 | 2020-04-30 | Consents Approved | SPT | CCGT
SP Distribution plc | Hartwood Wind Farm | Newarthill | 0 | 18.7 | 18.7 | 2019-05-31 | Awaiting Consents | SPT | Wind Onshore
3R Energy Solutions | Hazelside Wind Farm | Linnmill 132/33kV | 1.5 | 0 | 1.5 |  | Built | SPT | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Herscha Hill | Fiddes | 0 | 1.6 | 1.6 | 2020-10-31 | Scoping | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Hill of Easterton | Kintore | 2.3 | 0 | 2.3 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Hill of Lybster Wind Generating Station | Dounreay 132/33kV GSP | 0 | 1.5 | 1.5 | 2020-10-31 | Awaiting Consents | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Hillhead Of Auquhirrie Wind Generating station | Fiddes | 6.9 | 0 | 6.9 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Holly Wind Generation Station | Macduff | 0 | 4.6 | 4.6 | 2020-10-31 | Awaiting Consents | SHET | Wind Onshore
SP Distribution plc | Hoprigshiels | Dunbar | 7.5 | 0 | 7.5 |  | Built | SPT | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Howmuir PV | Lunanhead | 0 | 5 | 5 | 2016-03-31 | Scoping | SHET | PV Array
Scottish Hydro Electric Power Distribution plc | Hunt Hill Wind Farm | Keith | 0 | 3.6 | 3.6 | 2020-10-31 | Scoping | SHET | Wind Onshore
SP Distribution plc | Hunterston Offshore Wind Turbine Testing Facility | Hunterston Farm | 25 | 0 | 25 |  | Built | SPT | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Inchclett Wind | Mybster 1 | 0 | 9.2 | 9.2 | 2020-10-31 | Scoping | SHET | Wind Onshore
SSE Generation Ltd | Inverawe | Inverawe | 25 | 0 | 25 |  | Built | SHET | Hydro
SP Distribution plc | Inverclyde | Devol Moor | 0 | 24 | 24 | 2018-04-12 | Scoping | SPT | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Inverhahyle Hydro | Taynuilt | 0 | 1 | 1 | 2021-10-31 | Scoping | SHET | Hydro
International Paper (UK) Ltd | Inverurie Paper Mills | Inverurie | 7.5 | 0 | 7.5 |  | Built | SHET | Thermal
Scottish Hydro Electric Power Distribution plc | Jamesfield Solar Farm | Abernethy | 0 | 5 | 5 | 2021-03-30 23:00 | Scoping | SHET | PV Array
Scottish Hydro Electric Power Distribution plc | Kellas Wind | Elgin | 0 | 9.2 | 9.2 | 2015-11-30 | Awaiting Consents | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Keltie Hydro | Braco West | 1 | 0 | 1 |  | Built | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Kempstone Hill Wind Generating Station | Keith | 2.4 | 0 | 2.4 |  | Built | SHET | Wind Onshore
SP Distribution plc | Kenly Wind Farm | Cupar | 0 | 12.3 | 12.3 | 2017-03-01 | Scoping | SPT | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Kennys Plantation | Alness | 0 | 6.9 | 6.9 | 2018-06-30 | Awaiting Consents | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Kiachnish Hydro | Fort William | 2 | 0 | 2 |  | Built | SHET | Hydro
South Kilbraur Wind Farm Limited | Kilbraur South Wind Farm | Brora | 0 | 27.2 | 27.2 | 2021-04-15 | Scoping | SHET | Wind Onshore
Kildrummy Wind Farm Limited | Kildrummy Wind Farm | Tarland 132/33kV Substation | 18.4 | 0 | 18.4 |  | Built | SHET | Wind Onshore
SP Distribution plc | Kinegar WF | Dunbar | 5 | 0 | 5 |  | Built | SPT | Wind Onshore
SIMEC Kinlochleven Power Ltd | Kinlochleven | Kinlochleven | 23.5 | 5 | 28.5 | 2019-07-01 | Built | SHET | Hydro
SP Distribution plc | Kirkmay Farm Solar Park | Leven | 0 | 5 | 5 | 2016-06-30 | Scoping | SPT | PV Array
SP Distribution plc | Kirkton Barns Solar Park | Cupar | 0 | 5 | 5 | 2016-11-25 | Scoping | SPT | PV Array
Scottish Hydro Electric Power Distribution plc | Kirkton Wind Farm | Kintore | 6.9 | 0 | 6.9 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Knowes Wind Farm | Braco West | 0 | 9.6 | 9.6 | 2016-05-30 23:00 | Under Construction/Commissioning | SHET | Wind Onshore
SSE Generation Ltd | Lairg - Achany Wind Farm | Lairg | 38 | 0 | 38 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Lairg Phase 2 | Lairg | 2.5 | 0 | 2.5 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Land at Drumligair PV | Dyce | 0 | 9.9 | 9.9 | 2017-06-30 | Scoping | SHET | PV Array
Scottish Hydro Electric Power Distribution plc | Land to the East of Kirriemuir PV | Lunanhead | 0 | 5 | 5 | 2016-11-30 | Scoping | SHET | PV Array
SSE Generation Ltd | Lerwick A | Lerwick A | 28 | 0 | 28 |  | Built | SHET | Thermal
SSE Generation Ltd | Lerwick B | Lerwick B | 37 | 0 | 37 |  | Built | SHET | Thermal
SP Distribution plc | Levenseat EfW | Drumcross | 0 | 20.7 | 20.7 | 2021-06-01 | Consents Approved | SPT | Waste
SP Distribution plc | Levenseat Quarry | Newarthill | 11 | 0 | 11 |  | Built | SPT | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Lewis Wave Generating Station | Stornoway | 0 | 3 | 3 | 2016-10-31 | Scoping | SHET | Wave
Scottish Hydro Electric Power Distribution plc | Little Hilton | Keith | 2.3 | 0 | 2.3 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Loch Eilde Mor | Kinlochleven | 5 | 0 | 5 |  | Built | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Loch Etive Hydro | Taynuilt | 0 | 6.8 | 6.8 | 2019-05-31 | Scoping | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Loch Leacann | Port Ann | 1.1 | 0 | 1.1 |  | Built | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Lochaber B Hydro | Fort William | 0 | 2.8 | 2.8 | 2018-11-30 | Scoping | SHET | Hydro
Simec Lochaber Hydropower 2 Limited | Lochaber Smelter | Fort William 33kV substation | 9.9 | 0 | 9.9 |  | Built | SHET | Hydro
Simec Lochaber Hydropower 2 Limited | Lochaber Smelter | Fort William 33kV substation | 9.9 | 18.1 | 28 | 2018-11-30 | Under Construction/Commissioning | SHET | Hydro
Simec Lochaber Hydropower 2 Limited | Lochaber Smelter | Fort William 33kV substation | 0 | 52 | 80 | 2019-10-31 | Under Construction/Commissioning | SHET | Hydro
SP Distribution plc | Lochcraigs Farm PV Farm | Saltcoats A, B | 4.75 | 0 | 4.75 |  | Built | SPT | PV Array
Scottish Hydro Electric Power Distribution plc | Lochend Wind Farm | Thurso South | 0 | 9.2 | 9.2 | 2020-10-31 | Scoping | SHET | Wind Onshore
Longpark Windfarm Ltd | Longpark | Longpark | 38 | 0 | 38 |  | Built | SPT | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Lower Seater Farm | Thurso South | 0 | 1.44 | 1.44 | 2020-10-31 | Awaiting Consents | SHET | Wind Onshore
SSE Generation Ltd | Lubreoch Hydro (Part of Killin Cascade Hydro Scheme) | Killin | 4 | 0 | 4 |  | Built | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Lurghill Wind Generating Station | Keith | 2.4 | 0 | 2.4 |  | Built | SHET | Wind Onshore
The European Marine Energy Centre Limited | Marine Energy Test Centre | Marine Energy Test Centre | 7 | 0 | 7 |  | Built | SHET | Wave
Scottish Hydro Electric Power Distribution plc | Meadaple Wind Farm | Rothienorman | 0 | 4.3 | 4.3 | 2020-10-31 | Scoping | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Mid Backhill Wind Farm | Strichen | 0 | 2.3 | 2.3 | 2016-12-31 | Under Construction/Commissioning | SHET | Wind Onshore
Mid Hill Wind Ltd | Mid Hill Wind | Mid Hill | 75 | 0 | 75 |  | Built | SHET | Wind Onshore
SP Distribution plc | Middle Balbeggie 2 | Redhouse | 3.75 | 0 | 3.75 |  | Built | SPT | PV Array
SP Distribution plc | Middle Balbegie Wind Farm | Redhouse | 6.4 | 0 | 6.4 |  | Built | SPT | Wind Onshore
SP Distribution plc | Millerhill Energy from Waste Plant | Portobello | 15 | 0 | 15 |  | Built | SPT | Waste
SP Distribution plc | Millour Hill Wind Farm | Saltcoats A, B | 0 | 24 | 24 | 2015-06-30 | Awaiting Consents | SPT | Wind Onshore
Milltown Airfield Solar PV Limited | Milltown Airfield Solar Farm | Elgin | 0 | 49.9 | 49.9 | 2022-10-01 | Scoping | SHET | PV Array
Scottish Hydro Electric Power Distribution plc | Milton of Fisherie Wind Generating Station | Macduff | 4.6 | 0 | 4.6 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Monan Wind Generating Station | Harris | 1.5 | 0 | 1.5 |  | Built | SHET | Wind Onshore
SP Distribution plc | Moor House Wind Farm | Berwick | 0 | 0.5 | 0.5 | 2018-04-30 | Scoping | SPT | Wind Onshore
Falck Renewables Wind Ltd | Moorhouse Farmers Wind Farm | Giffnock GSP | 47.5 | 0 | 47.5 |  | Built | SPT | Wind Onshore
SP Distribution plc | Mount Farm | Coylton | 0 | 2 | 2 | 2023-10-30 | Awaiting Consents | SPT | Wind Onshore
SP Distribution plc | Muirhall Extension II Wind Farm | Livingston East | 9.6 | 0 | 9.6 |  | Built | SPT | Wind Onshore
SP Distribution plc | Muirhall Wind Farm Extension | Livingston East | 7 | 0 | 7 |  | Built | SPT | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Muirward Wood PV | Abernethy | 0 | 9.9 | 9.9 | 2021-03-31 | Scoping | SHET | PV Array
Scottish Hydro Electric Power Distribution plc | Nathrach Hydro | Kinlochleven | 0 | 2 | 2 | 2018-11-30 | Scoping | SHET | Hydro
SP Distribution plc | Neilston Community Wind Farm | Crookston A, B | 10 | 0 | 10 |  | Built | SPT | Wind Onshore
MeyGen Ltd | Ness of Quoys | Ness of Quoys 33kV Substation | 14.9 | 0 | 14.9 |  | Built | SHET | Tidal
SP Distribution plc | Netherton Gas Reserve Power Facility | Wishaw | 0 | 19.9 | 19.9 | 2019-01-31 | Consents Approved | SPT | CCGT
Scottish Hydro Electric Power Distribution plc | Nevis Range Hydro | Fort William | 1.1 | 0 | 1.1 |  | Built | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | New Mains of Guynd PV | Arbroath | 9.5 | 0 | 9.5 |  | Built | SHET | PV Array
Scottish Hydro Electric Power Distribution plc | New Mains of Kinblethmont PV | Arbroath | 5 | 0 | 5 |  | Built | SHET | PV Array
Scottish Hydro Electric Power Distribution plc | Newton of Fortrie Wind Generating Station | Keith | 6.9 | 0 | 6.9 |  | Built | SHET | Wind Onshore
Innogy Renewables UK Ltd | Novar | Alness 132/33kV substation | 17 | 0 | 17 |  | Built | SHET | Wind Onshore
Novar 2 Wind Farm Ltd | Novar 2 Wind Farm Alness | Alness GSP | 36.8 | 0 | 36.8 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Orkney Finstown Embedded Generation | Finstown (Orkney) | 0 | 50 | 50 | 2021-10-31 | Scoping | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Orkney Finstown Embedded Generation | Finstown (Orkney) | 0 | 60 | 60 | 2022-10-31 | Scoping | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Parkhill Farm PV | Arbroath | 4.99 | 0 | 4.99 |  | Built | SHET | PV Array
Paul's Hill II Limited | Paul's Hill II Wind Farm | Glenfarclas 132/33kV Substation | 0 | 15.5 | 15.5 | 2021-10-31 | Scoping | SHET | Wind Onshore
Pauls Hill Wind Ltd | Paul's Hill Wind Farm | Glenfarclas | 70 | 0 | 70 |  | Built | SHET | Wind Onshore
SP Distribution plc | Pearie Law Wind Farm | Livingston East | 0 | 7 | 7 | 2017-09-01 | Built | SPT | Wind Onshore
SP Distribution plc | Pearie Law Wind Farm | Livingston East | 7 | 12.2 | 19.2 | 2018-05-31 | Under Construction/Commissioning | SPT | Wind Onshore
Pentland Road Windfarm Ltd | Pentland Road | Stornoway | 13.8 | 0 | 13.8 |  | Built | SHET | Wind Onshore
Pentland Road Windfarm Ltd | Pentland Road | Stornoway | 13.8 | 4.2 | 18 | 2020-05-31 | Under Construction/Commissioning | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Pitscandly Farm PV | Lunanhead | 4.13 | 0 | 4.13 |  | Built | SHET | PV Array
Scottish Hydro Electric Power Distribution plc | Pressock Farm PV | Lunanhead | 5 | 0 | 5 |  | Built | SHET | PV Array
SP Distribution plc | Pundeavon Farm | Saltcoats A, B | 0 | 0.9 | 0.9 | 2018-07-31 | Awaiting Consents | SPT | Wind Onshore
SP Distribution plc | Quixwood Wind Farm | Berwick | 0 | 24 | 24 | 2016-07-31 | Consents Approved | SPT | Wind Onshore
SSE Generation Ltd | Rannoch | Rannoch | 44 | 0 | 44 |  | Built | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Reay Forest Hydro Generating Station | Cassley | 0 | 5.5 | 5.5 | 2020-10-31 | Awaiting Consents | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Redbog | Strichen | 1.6 | 0 | 1.6 |  | Built | SHET | Wind Onshore
SP Distribution plc | Redhouse Electrical Energy Storage | Redhouse | 0 | 16 | 16 | 2019-04-01 | Scoping | SPT | Battery Storage
SP Distribution plc | Rhodders Wind Farm | Devonside | 12.3 | 0 | 12.3 |  | Built | SPT | Wind Onshore
Scottish Hydro Electric Power Distribution plc | River Muick Hydro | Tarland | 0 | 2 | 2 | 2019-08-31 | Scoping | SHET | Hydro
E.ON Climate & Renewables UK Developments Limited | Rosehall | Shin | 24.7 | 0 | 24.7 |  | Built | SHET | Wind Onshore
Rothes Wind Ltd | Rothes (Cairn Uish) Wind Farm | Dallas | 50.6 | 0 | 50.6 |  | Built | SHET | Wind Onshore
Rothes II Ltd | Rothes II (Cairn Uish II) Wind Farm | Dallas | 41.4 | 0 | 41.4 |  | Built | SHET | Wind Onshore
Rothes III Limited | Rothes III Wind Farm | Dallas 275/33kV Substation | 0 | 23 | 23 | 2021-05-31 | Scoping | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Rumster Wind Generating Station | Mybster 1 | 0 | 2.85 | 2.85 | 2020-10-31 | Awaiting Consents | SHET | Wind Onshore
SP Distribution plc | Shaws Farm | Wishaw | 0 | 5 | 5 | 2018-10-01 | Awaiting Consents | SPT | Battery Storage
SSE Renewables Developments (UK) Ltd | Shin | Shin 33kv | 18.62 | 0 | 18.62 |  | Built | SHET | Hydro
SP Distribution plc | Sorbie Windfarm | Saltcoats A, B | 0 | 20 | 20 | 2017-03-15 | Scoping | SPT | Wind Onshore
Fortum Glasgow Limited | South Clyde | Braehead Park 132/33kV Substation | 0 | 35 | 35 | 2019-06-28 | Consents Approved | SPT | Waste
Speyside Renewable Energy Partnership Ltd | Speyside CHP | Keith 132/33kV | 9.9 | 0 | 9.9 |  | Built | SHET | CHP
Speyside Renewable Energy Partnership Ltd | Speyside CHP | Keith 132/33kV | 9.9 | 5.1 | 15 | 2020-10-31 | Scoping | SHET | CHP
EEB11 Limited | Speyslaw Solar | Elgin | 0 | 20 | 20 | 2022-10-01 | Scoping | SHET | PV Array
Scottish Hydro Electric Power Distribution plc | Srondoire | Port Ann | 5.9 | 0 | 5.9 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | St Fergus Ph 2 Wind Generating Station | St Fergus Gas | 0 | 3.09 | 3.09 | 2015-11-20 | Awaiting Consents | SHET | Wind Onshore
SSE Generation Ltd | St Fillans | St Fillans | 16.8 | 0 | 16.8 |  | Built | SHET | Hydro
E.ON UK plc | Stevens Croft | Chapelcross | 45 | 0 | 45 |  | Built | SPT | Biomass
Arjo Wiggins Fine Paper Limited | Stoneywood Mills (Wiggins Teape Stoneywood) |  | 12 | 0 | 12 |  | Built | SHET | CHP
Scottish Hydro Electric Power Distribution plc | Stornoway (Battery Point) | Stornoway | 22.3 | 0 | 22.3 |  | Built | SHET | Thermal
Gem Wind Farm 4 Ltd | Stroupster Wind Farm | Thurso | 30 | 0 | 30 |  | Built | SHET | Wind Onshore
SP Distribution plc | Swinabbey Fields | Bathgate | 0 | 0.25 | 0.25 | 2016-07-01 | Scoping | SPT | Wind Onshore
SSE Generation Ltd | Tangy Wind Argyll | Tangy (1) Wind Argyll | 19 | 0 | 19 |  | Built | SHET | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Taodail Hydro | Grudie Bridge | 1.35 | 0 | 1.35 |  | Built | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Tealing Airfield PV Farm | Milton of Craigie | 5 | 0 | 5 |  | Built | SHET | PV Array
Scottish Hydro Electric Power Distribution plc | Tealing Solar Farm | Milton of Craigie | 0 | 5 | 5 | 2016-03-31 | Scoping | SHET | PV Array
Scottish Hydro Electric Power Distribution plc | Three Lochs Hydro | Grudie Bridge | 0 | 2 | 2 | 2016-11-30 | Scoping | SHET | Hydro
SP Distribution plc | Tod Hill | Bonnybridge | 12 | 0 | 12 |  | Built | SPT | Wind Onshore
Nanclach Limited | Tom Nan Clach | Boat of Garton | 0 | 39.1 | 39.1 | 2019-02-28 | Consents Approved | SHET | Wind Onshore
Scottish Power Generation Ltd | Tongland | Tongland | 33 | 0 | 33 |  | Built | SPT | Hydro
Muirhall Energy Ltd | Tormywheel | Bathgate | 32.4 | 0 | 32.4 |  | Built | SPT | Wind Onshore
SP Distribution plc | Torrance Warm Wind Farm | Bathgate | 9 | 0 | 9 |  | Built | SPT | Wind Onshore
SP Distribution plc | Torrance Wind Farm Extension | Bathgate | 6 | 0 | 6 |  | Built | SPT | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Tresdale Wind Generating Station | Mybster 1 | 0 | 6.9 | 6.9 | 2020-10-31 | Scoping | SHET | Wind Onshore
SSE Generation Ltd | Tummel | Tummel | 34 | 0 | 34 |  | Built | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Uisge Dubh Hydro Generating Station | Broadford | 0 | 4 | 4 | 2020-10-31 | Scoping | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Wardford Wind Generating Station | Kintore | 0 | 2.3 | 2.3 | 2015-11-01 | Awaiting Consents | SHET | Wind Onshore
SP Distribution plc | Wardpark Alpha Generating Station | Cumbernauld | 0 | 4 | 4 | 2018-10-31 | Awaiting Consents | SPT | CCGT
SP Distribution plc | Warpark Bravo Generating Station | Cumbernauld | 0 | 4 | 4 | 2018-06-30 | Awaiting Consents | SPT | CCGT
Wathegar 2 Limited | Wathegar 2 Windfarm | Mybster 1 | 22.5 | 0 | 22.5 |  | Built | SHET | Wind Onshore
SP Distribution plc | Watson Autos Wind Turbine | Saltcoats A, B | 0.5 | 0 | 0.5 |  | Built | SPT | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Welton of Creuchies Wind Generating Station | Coupar Angus | 9.2 | 0 | 9.2 |  | Built | SHET | Wind Onshore
EEB15 Limited | Wemyss PV Farm | Redhouse | 0 | 49.9 | 49.9 | 2023-10-01 | Scoping | SPT | PV Array
Scottish Hydro Electric Power Distribution plc | West Ingliston PV | Lunanhead | 0 | 5 | 5 | 2015-11-30 | Scoping | SHET | PV Array
DP Marine Energy Limited | West Islay Tidal | Carradale 132/33kV | 0 | 30 | 30 | 2019-04-30 | Awaiting Consents | SHET | Tidal
SP Distribution plc | Westfield Wind Farm | Westfield | 12.5 | 0 | 12.5 |  | Built | SPT | Wind Onshore
Scottish Hydro Electric Power Distribution plc | Wheedlemont | Keith | 1.7 | 0 | 1.7 |  | Built | SHET | Wind Onshore
SP Distribution plc | Woodbank Wind Farm | Leven | 1.5 | 0 | 1.5 |  | Built | SPT | Wind Onshore
SP Distribution plc | Wormit PV Park | Cupar | 4 | 0 | 4 |  | Built | SPT | PV Array
Scottish Hydro Electric Power Distribution plc | Wyvis Hydro Generating Station | Grudie Bridge | 3.9 | 0 | 3.9 |  | Built | SHET | Hydro
Scottish Hydro Electric Power Distribution plc | Yonderton Wind Generating Station | Keith | 4.6 | 0 | 4.6 |  | Built | SHET | Wind Onshore
SP Distribution plc | Zebec Biogas | Saltcoats A, B | 2.5 | 0 | 2.5 |  | Built | SPT | Biomass